MASTER SPECIFICATION

5/11

SECTION 15011 [23 01 40]

SCHEDULE OF SUBMITTAL DATA

# - GENERAL

## RELATED DOCUMENTS:

### The requirements of the General Conditions, Special Conditions and Section 15010 [23 00 00], Mechanical General, apply to all work herein.

## SHOP DRAWINGS:

### Submit shop drawings or fully descriptive catalog data for all items of material and equipment furnished and installed under this Division. Submit to the Architect six copies of all such shop drawings or catalog data.

### Before submitting shop drawings to the Architect for review, examine them and ensure that they correctly represent the material and equipment to which they pertain. The Contractor's review of the shop drawings is not intended to take the place of the official review by the Architect, and shop drawings which have not been reviewed and accepted by the Architect shall not be used in fabricating or installing any work.

### The review of shop drawings or catalog data by the Architect shall not relieve the Contractor from his responsibility for deviations from the drawings or specifications unless he has specifically called attention to such deviations, in writing, at the time of submission and has obtained the permission of the Architect thereon, nor shall it relieve him from responsibility for errors of any kind in the shop drawings. When attention is called to deviations, state in the letter whether or not such deviations involve any additional cost. If no additional costs are noted, it will be assumed that no extra cost is involved for making the change.

### Verifications and assignment of dimensions, quantities and construction means, methods, sequences and procedures are the sole responsibility of the Contractor and will not be a part of the Architect's review.

### Reproduction of design documents in any portion for use in a submittal is not acceptable and shop drawings submitted in this manner will be returned without review.

### The Architect reserves the right to require a sample of any equipment or material to be submitted for approval.

### If resubmittals are necessary, make them exactly as specified herein for submittals. Highlight resubmittals to indicate all revisions made to the original submittal and include the applicable phrase "RESUBMITTAL NO.____".

# - PRODUCTS

## GENERAL:

### All product samples shall be new and shall bear all labels as identified by the applicable specification section or drawing.

# - EXECUTION

## SUBMITTAL DATA:

### Comply with these specifications and with the drawings in their entirety the submittal data to be furnished for this project. The submittals scheduled herein are a minimum and shall not be construed to limit the submittal data required to adequately describe all materials and equipment to be incorporated into the work.

### Shop drawings will be returned without review unless the following information as applicable is included:

#### References to all pertinent data in these specifications or on the drawings such as sound power levels, performance curves, etc.

#### Electrical characteristics and horsepower ratings.

#### Capacities of all equipment including capacity curves for fans [and pumps].

#### Construction materials.

#### UL labels and ASME stamps where required.

#### Accessories specified.

#### Manufacturer, make and model number.

#### Weights and dimensional data of all major items of equipment.

#### Motor starters where required by Division 15 [23].

#### A space large enough to accept a submittal stamp.

### The data submitted shall reflect the actual equipment performance under the specified conditions and shall not simply be a copy of the scheduled data on the drawings. Identify all submitted equipment on the shop drawings with the same mark numbers as indicated on the drawings or in these specifications. Clearly highlight any deviation from any part of the Contract Documents.

### Paper copy HVAC and Plumbing submittal data [shall be bound into separate HVAC and Plumbing volumes, with each volume containing one copy of all required shop drawings. Each volume] shall be assembled into 3-ring binders and each binder shall be provided with an identification tab for each specification section that requires submittals and an index sheet shall be included listing each tabbed section. Identify each item in each tabbed section with the paragraph number relating to the item. In the event that all required submittal items are not included with the first submittal, the 3-ring binders shall be large enough to accept all subsequent submittal data. Shop drawings not submitted in accordance with this paragraph will be returned without review.

### As an alternative, submittals may be submitted to the Architect electronically. Electronic submittals shall be PDF images of the items to be submitted, shall be properly collated and shall include a cover sheet with index. Identify each item in the index with the paragraph number relating to the submitted item. Electronically submitted shop drawings not submitted in accordance with this paragraph will be returned without review.

### Submit the bound paper submittals or electronic submittals for review no later than 30 days after award of Contract. No submittal will be checked until all required submittals have been received by the Architect [with the exception that Automatic Temperature Controls submittals may be forwarded for review after the remaining submittals have been reviewed and accepted by the Architect].

### Submit a letter signed by the project manager stating that he has checked all data prior to releasing them for submittal and that all electrical characteristics of the mechanical equipment to be supplied have been fully coordinated with the electrical drawings and specifications. Perform any changes to the electrical characteristics resulting from alternate equipment being submitted at no additional cost to the Contract.]

### Submit shop drawings for the following:

#### Plumbing Submittals

Acid neutralization tank

Acid resistant piping and accessories

Air compressor, drier and accessories

Backflow preventors

Double wall piping and containment system

Drains, cleanouts and drainage accessories

Fuel storage tank and accessories

Grease interceptor

Hot water generators

Hot water storage tank

Leak detection and monitoring system

Plumbing fixtures, carriers and trim

Pumps including performance curves

Shock absorbers

Sewage lift station

Pressure booster system

Steam generator

Submersible pump with performance curve

Wall hydrants

Water heaters

Water softener system

Strainers

Test wells

Vacuum breakers

Flexible pipe connectors

Thermometers and gauges

Gauge cocks and snubbers

Level gauges

Heat tracing cable

Flow measuring devices

Piping identification markers

Valves

Thermal insulation

Water treatment system

Waste & Vent Piping

Cast Iron No-Hub Couplings

Pipe hangers and supports

#### HVAC Submittals

Starters and disconnect switches

Piping identification markers

Test, adjusting and balancing report forms

Pipe hangers and supports

Valves

Pumps including performance curves

Thermal insulation

Vibration isolators

Strainers

Test wells

Flexible pipe connectors

Thermometers and gauges

Automatic air vents

Heat tracing cable

Flow measuring devices

Underground prefabricated piping system

Steam humidifiers

Steam generators

Steam piping accessories

Refrigerant and condensate drain piping materials

Boilers including trim and controls

Boiler feedwater system

Warm air furnaces

Heat exchangers

Water source heat pumps

Prefabricated chimneys and stacks

Chillers including chiller test report

Cooling towers including sound data and accessories

Closed circuit evaporative cooler

Water treatment system

Expansion and air separation tanks

Variable air volume terminal units

Fan coil units including sound data

Computer room air conditioning units

Packaged rooftop air conditioning units

Outdoor air pretreatment units

Hydronic unit heaters

Hydronic cabinet heaters

Air handling units including fan, coil and sound data

Split system heat pumps

Air cooled condensing units

Gas fired make-up air units

Ductless split systems

Window air conditioners

Packaged terminal air conditioners

Unit ventilators

Electric heating equipment

Gas fired unit heaters

Fans including sound data and performance curves

Kitchen ventilation system

Fabric ductwork system

Preformed spiral round and flat oval ductwork

Double wall spiral round ductwork

Flexible round ductwork

Dampers

Fire dampers and fire/smoke dampers

Intake and relief hoods

Roof curbs

Roof equipment support rails

Pipe curb assemblies

Sound attenuators

Filters

Louvers [and louvered penthouses]

Grilles, registers and diffusers

Refrigerant monitors

Variable frequency speed controllers

VVT systems and controls

Automatic temperature controls

Building automation system

### Submit 1/8 inch scale reproducible vellum or mylar layout drawings of the fire protection sprinkler pipe and fittings in accordance with NFPA 13, Item 6-1.1.1, including but not necessarily limited to, hydraulic calculations, pipe and tubing sizes, locations, elevations and slopes of horizontal runs, wall and floor penetrations and connections. See Section 15350 [21 00 00], Automatic Sprinkler System.

## OTHER SUBMITTALS:

### In addition to the above provide the following prior to final acceptance of the building by the Owner:

#### As-built drawings for the HVAC and plumbing installations specified in Section 15010 [23 00 00], Mechanical General.

#### All warranties as specified in Section 15010 [23 00 00], Mechanical General, and in other sections of these specifications.

#### Operation and maintenance instructions as specified in Section 15010 [23 00 00], Mechanical General.

#### Test, adjusting and balancing reports as specified in Section 15080 [23 05 93], Test and Balance.

#### A flow control valve meter kit with pressure indicating gauge, quick connector, conversion chart and operating instruments as specified in Section 15130 [23 05 23], Valves.

#### A spare seal and coupling for each pump labeled for their associated pump and a certification from the manufacturer that all pumps have been properly aligned as specified in Section 15140 [23 21 23], Centrifugal Pumps.

#### Two copies of the vibration isolation manufacturer’s certified letter of approval as specified in Section 15200 [23 05 48], Vibration Isolators.

#### A combination pressure and temperature test kit as specified in Section 15300 [23 21 20], Piping Accessories.

#### Two copies of welders’ certificates as specified in Section 15305 [23 21 13], Chilled, Hot and Condenser Water Piping Systems.

#### Two copies of the domestic water system disinfection certification as specified in Section 15400 [22 00 00], Plumbing.

#### Start-up report for each boiler from the boiler manufacturer’s representative as specified in Section [15500 [23 52 53] Hydronic Heating Boiler, Atmospheric Gas Fired].

#### Start-up report for each chiller from the chiller manufacturer’s representative as specified in Section [15675 [23 64 19], Air Cooled Chiller].

#### Two copies of the water analysis and chemical treatment performance tests and one year supply of water treatment chemicals as specified in Section 15690 [23 25 13], Chemical Treatment System.

#### Keys for control cabinets [and locking thermostat covers].

END OF SECTION